Score

Class No.

Name: Zingapan, Jenine Maree M. 				BSMT : III

# Date: October 29, 2020     					Section / SET: b

# EXERCISE No. 1

BLOOD DILUTION

# Questions:

- Why do you hold the pipet in a nearly horizontal position during dilution?

- Pipettes are held in a nearly horizontal position during dilution to see the blood's exact level.

- What are the factors that may affect the accuracy of dilutions made with blood diluting pipets?

- Inadequate or improper shaking of the pipette after dilution.

- Failure to wipe excess blood from the end of the pipette.

- Drying of sample during or prior to counting.

- Failure to allow cells to settle into a single plane prior to counting.

- Inadequate cleaning of glass wares.

- Failure to discharge diluting fluid from the capillary prior to charging the chamber.

- List down the expected errors that can be encountered in the dilution method.

- Improper dilution – not drawing blood exactly to the 0.5 mark.

- Unfiltered diluting liquids, greasy glassware, dirty microscope and pipette.

- Poor mixing and not discarding few drops of fluid.

- Chipped or damaged pipettes.

- What is the dilution factor if the blood is sucked to 0.4 mark of RBC pipet?

- The dilution factor is determined by diving 100 by 0.4 which will result to 1:250.

==============

ILLUSTRATIONS:

==============

A. RBC Thoma Pipette

B. WBC Thoma Pipette